## Slide 1: Shoring up your organization for the silver tsunami with a robust operator training program
Presented by: Tim Carroll O&M Consultant
Brown and Caldwell

## Slide 2: The Problem
Wastewater Facilities are battling a war of attrition with retirements, career changes and less industrial jobs that at one time provided a pool of candidates with a mechanical or operational background
Wastewater facilities face increasingly stringent NPDES, Air and biosolids permits.
Wastewater Facilities are becoming increasingly complex to operate. In wastewater facilities processes like MBR, Biological Nutrient removal and recycled water often require advanced skillsets to operate and maintain.

## Slide 3: The Problem Continued….
In the war of attrition the key thing wastewater facilities lose is information and experience. Many organizations have done a poor job of capturing that information. Some of the ways that information can be captured is in the form of SOP’s, manuals and training programs.

## Slide 4: Where do we go?
Story about doing the thing you’ve always done
If the status quo is no longer serving us, regulations continue to get more stringent, our talent pool isn’t as robust and our processes are getting more complex, where do we go?
A robust training program!

## Slide 5: Easter Dinner
Consider the story of the young girl helping her mother prepare Easter dinner.
Before placing the ham in the oven…
Before placing the ham in the oven for baking, the mother cut off both ends. “Why did you cut off the ends of the ham?” asked the daughter.
“That’s the way my mother always did it,” was the reply.
The daughter quickly vanished. In moments, she was on the telephone to the grandmother verifying whether or not what she had been told was true. The grandmother replied that she did, indeed, always cut the ends off the ham. When asked why, the grandmother replied, “That’s the way my mother always did it.”
As fate would have it, the next week brought about a visit from great-grandmother. Overcome with curiosity, as young children often are, nothing would do but to pose this same question.
“Great Grandmother, Mommy always cuts the ends off her ham before she puts it in the oven. Mommy says she does it because that’s the way Grandmother always did it. Grandmother says she did it because that’s the way you always did it. Is it true, Great Grandmother? Did you always cut the ends off of the ham?”
“Yes, indeed, my child, I always cut the end off the ham” replied the elderly woman.
But why?…
“But why?” asked the young girl.
Holding her hands about 12 inches apart, she replied, “Because my pan was only this big.”

## Slide 6: Benefits of a Training Program
Development of a training program, develops your entire staff.
Supervisors and senior O&M staff that give the training must have ownership over the material. Often times this knowledge is taken for granted, training on a topic requires a more intimate understanding. A trainee will ask WHY until they understand.
Developing training material enhances the staffs ability to do technical writing, SOP development, and create training scenarios which will ultimately make them better leaders.

## Slide 7: Benefits of a Training Program
For the trainee a training program shows that an organization is committed to their success.
Organizations can ensure new staff are trained, competent and confident to perform the job.
A training program can accelerate the learning curve for O&M staff, the days of being handed a clipboard and figuring it out are over.
Many utilities have expressed to me that it’s getting more difficult to find good quality candidates. With a robust training program, utilities can cast a wider net and bring in more entry level operators. While seasoned operators can come in and contribute immediately, placing an operator in a training program ensures there aren’t gaps in their knowledge.

## Slide 8: Elements of a robust training program
Organizational buy-in on the importance of having a training program.
Foundational wastewater theory: We call these the levers of a plant.
The ability to understand applied math: The LBS formula and beyond.
Troubleshooting: The war stories. Giving operators the ability to play in a controlled environment.
Mechanical concepts: Types of pumps, Types of valves, hydraulics, and instrumentation.
Technology: SCADA, PLC’s, CMMS, and HMI’s.
Documentation: How to read and interpret drawings and manuals. The importance of change management.
Verification of knowledge: quizzes, scenarios, and reports.

## Slide 9: Organizational buy-in on the importance of having a training program.
You wont grow what you don’t water. If training is a back-burner topic for your organization the “fire” of the day will always take precedence over a training program.
Its an organizational investment. A training program is going to take money to develop, implement and maintain.
If it was easy, everyone would do it. As an organization moves from reactive to preventive, they see that investing in staff today removes a bunch of headaches tomorrow.

## Slide 10: Foundational wastewater theory: We call these the levers of a plant.
Major processes and their function.
Process relationships: If I reduce my RAS Rate, what happens to my Mixed Liquor concentration? If grit is efficiently removed in preliminary treatment what happens to my volatile solids concentration in the primary sludge?
Process knowledge: Why do I get more digester gas with a higher percentage of primary sludge vs secondary sludge? What is SRT and why do I care? Why does my activated sludge plant have air in some places and not others?

## Slide 11: The ability to understand applied math: The LBS formula and beyond.
Math is a foundational piece of operating and maintaining a wastewater facility
The ability to perform applied math is critical toward ordering chemicals, making process changes, budgeting, dosing chemicals and meeting permit compliance.
The ability to perform applied math lays the foundation for successfully passing wastewater certification exams.
Applied math can be taught in way that is clean, concise, repeatable and scale able.
O&M Staff that can perform applied math and understand it can take OM manuals, run the numbers and make informed and appropriate plant changes.

## Slide 12: Troubleshooting: The war stories.
Healthy organizations take lessons learned seriously. If something out of the ordinary happened, it should be documented and shared as part of your training program. What went well, what could have been done better, what did the organization learn?
Set up scenarios to re-create the event so new O&M staff can play in a controlled environment. Examples might include:
Placing a pump in manual and letting a wet well go into high level to see how the operator responds.
Taking a unit off-line, opening breakers, closing valves, isolating wash water, powering down sensors and allowing the operator to find all of the issues before they put the unit on-line.
Allowing them to make a process change, can be something as simples as (lower or raise polymer) and running lab analysis before and after to see the affect.

## Slide 13: Mechanical concepts: Types of pumps, Types of valves, hydraulics, and instrumentation.
The first time I went to order a valve for a replacement I was shocked by the number of questions the vendor asked: Seat material, temperatures, pressures, disk material, normally open or normally closed…
O&M staff should be taught the fundamentals of pumps, valves, hydraulics and instrumentation. It is critical to know the applications and why certain pieces of equipment are chosen.
Chemical and temperature compatibility charts should be taught so the wrong material isn’t selected during corrective maintenance.
Some equipment has serious safety considerations such as positive displacement pumps: No closed valves, high discharge switches etc.

## Slide 14: Technology: SCADA, PLC’s, CMMS, and HMI’s.
SCADA systems are the informational life line of a facility. A robust training program covers:
How to build, use and save critical trends
How to read, respond and prioritize alarm summaries
How to tell if equipment is in manual, automatic, alarm status, open, closed or moving.
What inputs and important factors are being used for control strategies.
Trainees should be taught how to navigate and make changes using HMI’s.
They should generally know the overall framework of their SCADA system.
Trainees should be taught the importance of the CMMS system:
How to write work requests, look up assets, put time on work orders, the importance of documentation in work orders, the importance of labor hours and cost.

## Slide 15: Documentation: How to read and interpret drawings and manuals. The importance of change management.
Trainees should be taught how to access, read, interpret and apply: SOP’s, Drawings, OM manuals, and OEM manuals
They should understand their role in change management and what do if information isn’t correct: Does your organization have a process that allows O&M staff to update incorrect documentation. Do they need permission or access to update OM Manuals, create equipment labels, update SOP’s
What is the organizations expectation for change management? A training program is the perfect time to discuss and train on all the critical information that must be updated when corrective or capital work requires equipment or process changes.
A training program is also the perfect time to ensure that all of your documentation is correct: How should a trainer or trainee respond when they find outdated or incorrect information.

## Slide 16: Verification of knowledge: quizzes, scenarios, and reports.
Frequent quizzes during a training program provide vital feedback to the trainer about the effectiveness of the training. It also prepares the trainees for certification exams.
Reports: This allows the trainee to become the trainer. We have found we get much more engagement out of a trainee if they are expected to give a presentation on a topic rather than just sit and be fed information.
Scenarios: Create scenarios, You are in the control center and you get a flash flood warning for your area, describe what steps you might take to ensure the facility is ready for high flows. This is often a great way to capstone a training. The trainee has to successfully pass several of these scenarios using a pre-determined sign-off sheet and a panel of more senior O&M staff.

## Slide 17: Who should be the trainer?
The trainers that are selected should be the most passionate employees who are willing to transfer knowledge, humble enough to say, “I don’t know but let’s find out,” and committed to correcting incorrect documentation as its discovered.

## Slide 18: We are losing the attrition battle and don’t have anyone available to train and develop a program
One difficulty for an organization setting up a training program is staffing. Many utilities are already running on the edge of staffing and can’t free up staff to develop and implement a training program. Recently, Brown and Caldwell partnered with a client for a 13-week training program.

## Slide 19: What were the goals of the program
1.Establish a basic level of understanding and confidence in wastewater operations and process control
2.Create a culture of communication, asking questions and accepting feedback
3.Develop good group dynamics for peer mentoring
4.Develop a mindset and methods to troubleshoot
5.Pass the Grade 1 and 2 exams after 1 year of service, and eventually obtain Grade 3 and 4 licenses

## Slide 20: How were the goals met?
The training was broken up into two parts: Classroom training and field weeks. BC staff handled all the classroom training and developed field packets in coordination with the city for the field weeks. Field weeks consisted of plant specific training with a seasoned operator, scavenger hunts, troubleshooting scenarios and report items to share with their training group during classroom weeks.
Classroom training combined classroom and field trips to marry the theory of wastewater treatment with the practical application. Classroom training covered all 8 of the elements we just discussed